## Blad1
TITLE | Metadata for "Meteorological, Oceanographic and Ship Data Collected Onboard Icebreaker Oden"
Principal Organisation | Swedish Polar Research Secretariat
Contact | datamanager@polar.se
Time Period | Specified under the parameter DateTime
Time Resolution | 1-minute resolution (measured in higher resolution and aggregated to 1-minute values)
Geographic Spread | Arctic Ocean, with precise coordinates specified in the parameters Oden.Ship.SeaPath.LatitudeDegrees and Oden.Ship.SeaPath.LongitudeDegrees
File Retrieved From | https://snd.gu.se/
Creative Commons License | CC-BY 4.0
Quality Checked | No
Coordinate Reference System | WGS84
All measured parameters are presented with values for
AVG | Average value for the time period
MIN | Minimum value for the time period
MAX | Maximum value for the time period
NUM | Number of logged data points during the 1-minute time period used for the calculation of AVG, MIN, and MAX
Parameters | Description | Unit | Place | Instrument | Manufacturer | Note
DateTime | Date and time UTC±0
Oden.MB.DBT | Depth under transducers of EM122, center deepth | m | Multibeam | Kongsberg EM122 echo sounder | Kongsberg | Not calibrated
Oden.MB.SeaDepth | Depth EM122 sonar, center deppth | m | Multibeam | Kongsberg EM122 echo sounder | Kongsberg | Not calibrated
Oden.MB.Sensordepth | Depth EM122 sonar, center deppth, surface | m | Multibeam | Kongsberg EM122 echo sounder | Kongsberg | Not calibrated
Oden.Met.Air-Temperature-BB | Air temperature on port side of ship bridge | °C | Bridge wing portside | PT100
Oden.Met.Air-Temperature-SB | Air temperature on starboard of ship bridge | °C | Bridge wing starboard | PT100
Oden.Met.AirPressure | same value as Oden.Met.PTB330-1.AirPressure | hPa | Bridge | Vaisala PTB330 | Vaisala
Oden.Met.AirTemperature | Air temperture, avg between port side and starboard, calculated from PT100 values | °C | Bridge roof | Calculated based on data from PT100 | Frejval
Oden.Met.DewPointTemperature | Dew point calculated in database | °C | Database | Calculated based on data from HMP155 Temperature and HMP155 Humidity | SPRS
Oden.Met.HMP155-BB.Air-Temperature | HMP155, Air temperature portside | °C | Bridge roof | \N | Vaisala
Oden.Met.HMP155-BB.RelativeAirHumidity | HMP155, Relative air huminity portside | %rH | Bridge roof | \N | Vaisala
Oden.Met.HMP155-SB.Air-Temperature | HMP155, Air temperature starboard | °C | Bridge roof | \N | Vaisala
Oden.Met.HMP155-SB.RelativeAirHumidity | HMP155, Relative air huminity starboard | %rH | Bridge roof | \N | Vaisala
Oden.Met.PAR-QSR2150.intVolt | QSR-2150 internal voltage for debug | V | Bridge roof, Cont26 roof | QSR-2150 | Biospherical Instrument
Oden.Met.PAR-QSR2150.PAR | QSR-2150 PAR | V | Bridge roof, Cont26 roof | QSR-2150 | Biospherical Instrument
Oden.Met.PAR-QSR2150.Temperature | QSR-2150 temperature on card for debug | °C | Bridge roof, Cont26 roof | QSR-2150 | Biospherical Instrument
Oden.Met.PTB330-1.AirPressure | Air pressure from PTB330 | hPa | Bridge | \N | Vaisala
Oden.Met.PTB330-1.AirPressure.a | a of air pressure from first PTB330 | a | Bridge | \N | Vaisala
Oden.Met.PTB330-1.AirPressure.ppp | 3h trend Air pressure from first PTB330 | hPa/3h | Bridge | \N | Vaisala
Oden.Met.PTB330-1.QFE | Air Pressure, Heli Pad Oden | hPa | Bridge | \N | Vaisala
Oden.Met.PTB330-1.QNH | Air Pressure, Sea level, ICAO stndart atmosphere | hPa | Bridge | \N | Vaisala
Oden.Met.PTB330-2.AirPressure | Air pressure from second PTB330 | hPa | Bridge | \N | Vaisala
Oden.Met.PWD22.AirTemperature | PWD22, Air temperature | °C | Bridge roof, Cont26 roof | Present Weather Detector PWD22 | Vaisala
Oden.Met.PWD22.Precipitation-1H | Precipitation intensity. Measured at top of container on bridge roof, starboard side. | mm/h | Bridge roof, Cont26 roof | Present Weather Detector PWD22 | Vaisala
Oden.Met.PWD22.Precipitation-Total | PWD22, rainfall mm total, Measured at top of container on bridge roof, starboard side. | mm | Bridge roof, Cont26 roof | Present Weather Detector PWD22 | Vaisala
Oden.Met.PWD22.PWCode | PWD22, weather code now |  | Bridge roof, Cont26 roof | Present Weather Detector PWD22 | Vaisala
Oden.Met.PWD22.PWCode-15M | PWD22, weather code 15min |  | Bridge roof, Cont26 roof | Present Weather Detector PWD22 | Vaisala
Oden.Met.PWD22.PWCode-1H | PWD22, weather code 1hour avg |  | Bridge roof, Cont26 roof | Present Weather Detector PWD22 | Vaisala
Oden.Met.PWD22.Snow-Sum | PWD22, summery snow | mm | Bridge roof, Cont26 roof | Present Weather Detector PWD22 | Vaisala
Oden.Met.PWD22.Visibility-Avg10M | PWD22, Visibility 10min avg, Measured at top of container on bridge roof, starboard side. | m | Bridge roof, Cont26 roof | Present Weather Detector PWD22 | Vaisala
Oden.Met.PWD22.Visibility-Now | PWD22, Visibility now | m | Bridge roof, Cont26 roof | Present Weather Detector PWD22 | Vaisala
Oden.Met.QFE | Calculated QFE, Air Pressure, Heli Pad Oden | hPa | Database | Calculated based on data from Airpressure, Airtemperature and LatitudeDegrees | SPRS
Oden.Met.QFF | Calculated QFF, Air Pressure, Sea level, actual atmoshere | hPa | Database | Calculated based on data from Airpressure, Airtemperature and LatitudeDegrees | SPRS
Oden.Met.QNH | Calculated QNH, Air Pressure, Sea level, ICAO stndart atmosphere | hPa | Database | Calculated based on data from Airpressure, Airtemperature and LatitudeDegrees | SPRS
Oden.Met.RelativeAirHumidity | Relative air huminity, calculatet of HMP155 values | %rH | Database | Calculated based on data from HMP155-BB.Air-Temperature, HMP155-SB.Air-Temperature, HMP155-BB.Air-Humidity and HMP155-SB.Air-Humidity | SPRS
Oden.Met.Wind-BB.DirectionRel | Relative wind direction, portside | ° / deg | Bridge wing portside | Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | Thies Clima
Oden.Met.Wind-BB.DirectionRel-180 | Relative wind direction +180deg, opposit, portside | ° / deg | Bridge wing portside | Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | Thies Clima
Oden.Met.Wind-BB.SpeedRel | Relative wind speed, portside | m/s | Bridge wing portside | Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | Thies Clima
Oden.Met.Wind-SB.DirectionRel | Relative wind direction, starboard | ° / deg | Bridge wing starboard | Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | Thies Clima
Oden.Met.Wind-SB.DirectionRel-180 | Relative wind direction +180deg, opposit, starboard | ° / deg | Bridge wing starboard | Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | Thies Clima
Oden.Met.Wind-SB.SpeedRel | Relative wind speed, starboard | m/s | Bridge wing starboard | Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | Thies Clima
Oden.Met.WindDirectionRel | Relative wind direction, calculated from both wind sensors values | ° / deg | Bridge, Heli corner | Calculated based on relative values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | Frejval
Oden.Met.WindDirectionRel-180 | Relative wind direction, calculated from both wind sensors values +180deg, opposit | ° / deg | Bridge, Heli corner | Calculated based on relative values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | Frejval
Oden.Met.WindDirectionRel-AvgPT10M | calculated relative wind direction 10min avg | ° / deg | Database | Calculated based on relative values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | SPRS
Oden.Met.WindDirectionRel-MaxPT10M | calculated relative wind direction 10min max | ° / deg | Database | Calculated based on relative values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | SPRS
Oden.Met.WindDirectionRel-MaxPT2M | calculated relative wind direction 2min max | ° / deg | Database | Calculated based on relative values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | SPRS
Oden.Met.WindDirectionRel-MinPT10M | calculated relative wind direction 10min min | ° / deg | Database | Calculated based on relative values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | SPRS
Oden.Met.WindDirectionRel-MinPT2M | calculated relative wind direction 2min min | ° / deg | Database | Calculated based on relative values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | SPRS
Oden.Met.WindDirectionTrue | calculated true wind direction | ° / deg | Database | Calculated based on relative values from Oden.Met.WindDirectionRel | SPRS
Oden.Met.WindDirectionTrue-180 | calculated true wind direction, +180deg , opposit | ° / deg | Database | Calculated based on relative values from Oden.Met.WindDirectionRel-180 | SPRS
Oden.Met.WindDirectionTrue-AvgPT10M | calculated true wind direction 10min avg | ° / deg | Database | Calculated based on true values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | SPRS
Oden.Met.WindDirectionTrue-MaxPT10M | calculated true wind direction 10min max | ° / deg | Database | Calculated based on true values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | SPRS
Oden.Met.WindDirectionTrue-MaxPT2M | calculated true wind direction 2min max | ° / deg | Database | Calculated based on true values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | SPRS
Oden.Met.WindDirectionTrue-MinPT10M | calculated true wind direction 10min min | ° / deg | Database | Calculated based on true values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | SPRS
Oden.Met.WindDirectionTrue-MinPT2M | calculated true wind direction 2min min | ° / deg | Database | Calculated based on true values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | SPRS
Oden.Met.WindSpeedRel | relative wind speed, calculatet from both wind sensors values | m/s | Bridge, Heli corner | based on Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | Frejval
Oden.Met.WindSpeedRel-AvgPT10M | calculated relative wind speed 10min avg | m/s | Database | Calculated based on relative values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | SPRS
Oden.Met.WindSpeedRel-AvgPT2S | calculated relative wind speed 2sec avg | m/s | Database | Calculated based on relative values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | SPRS
Oden.Met.WindSpeedRel-By2sPT10M | calculated relative wind speed, gust 10min avg | m/s | Database | Calculated based on relative values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | SPRS
Oden.Met.WindSpeedRel-MaxPT10M | calculated relative wind speed 10min max | m/s | Database | Calculated based on relative values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | SPRS
Oden.Met.WindSpeedRel-MaxPT2M | calculated relative wind speed 2min max | m/s | Database | Calculated based on relative values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | SPRS
Oden.Met.WindSpeedRel-MinPT10M | calculated relative wind speed 10min min | m/s | Database | Calculated based on relative values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | SPRS
Oden.Met.WindSpeedTrue | calculated true wind speed | m/s | Bridge, Heli corner | Calculated based on true values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | Frejval
Oden.Met.WindSpeedTrue-AvgPT10M | calculated true wind speed 10min avg | m/s | Database | Calculated based on true values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | SPRS
Oden.Met.WindSpeedTrue-AvgPT2S | calculated true wind speed 2sec avg | m/s | Database | Calculated based on true values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | SPRS
Oden.Met.WindSpeedTrue-By2sPT10M | calculated true wind speed, gust 10min avg | m/s | Database | Calculated based on true values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | SPRS
Oden.Met.WindSpeedTrue-MaxPT10M | calculated true wind speed 10min max | m/s | Database | Calculated based on true values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | SPRS
Oden.Met.WindSpeedTrue-MaxPT2M | calculated true wind speed 2min max | m/s | Database | Calculated based on true values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | SPRS
Oden.Met.WindSpeedTrue-MinPT10M | calculated true wind speed 10min min | m/s | Database | Calculated based on true values from Thies Clima Ultrasonic Anemometer 2D, Anemometer 4.3820.40.260 | SPRS
Oden.Ship.COG | Ship GPS course over ground | ° / deg | Oden | Oden navigation system | \N
Oden.Ship.EastWest | Ship GPS East/West (ASCII 69/87) |  | Oden | Oden navigation system | \N
Oden.Ship.GPS_Time | Ship GPS time | hhmmss | Oden | Oden navigation system | \N
Oden.Ship.HDT | Ship GYRO heading | ° / deg | Oden | Mechanical gyro (2): Simrad GC80 / GPS gyro (1, used at high latitudes): Furuno SC-110 | \N
Oden.Ship.Latitude | Ship GPS Latitude |  | Bridge roof | Oden navigation system | \N
Oden.Ship.LatitudeDegrees | Ship GPS | ° / deg | Bridge roof | Oden navigation system | \N
Oden.Ship.Longitude | Ship GPS Longitude |  | Bridge roof | Oden navigation system | \N | 2-minute resolution
Oden.Ship.LongitudeDegrees | Ship GPS | ° / deg | Bridge roof | Oden navigation system | \N | 2-minute resolution
Oden.Ship.NorthSouth | Ship GPS North/South (ASCII 78/83) |  | Bridge roof | Oden navigation system | \N
Oden.Ship.ROT | Ship GYRO Rate of turn | °/m | Oden | Oden navigation system | \N | 2-minute resolution
Oden.Ship.SeaPath.COG | Seapath320, course over ground | ° / deg | sea chest | Seatex Seapath 320/MRU5 | Kongsberg
Oden.Ship.SeaPath.EastWest | Seapath320, East/West (ASCII 69/87) |  | sea chest | Seatex Seapath 320/MRU5 | Kongsberg
Oden.Ship.SeaPath.GGA_Qual | Seapath320, GPS signal quality |  | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.GPS_Date | Seapath320, Date | yyyymmdd | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.GPS_Time | Seapath320, Time |  | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.hdop | Seapath320 |  | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.HDT | Seapath320, heading | ° / deg | sea chest | Seatex Seapath 320/MRU5 | Kongsberg
Oden.Ship.SeaPath.head | Seapath320 | ° / deg | sea chest | Seatex Seapath 320/MRU5 | Kongsberg
Oden.Ship.SeaPath.head-qual | Seapath320 |  | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.heave | Seapath320, heave | m | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.height | Seapath320 | m | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.hgt-qual | Seapath320 |  | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.horiz-qual | Seapath320 |  | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.Latitude | Seapath320, Latitude |  | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.LatitudeDegrees | Seapath320 | ° / deg | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.Longitude | Seapath320, Longitude |  | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.LongitudeDegrees | Seapath320 | ° / deg | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.NorthSouth | Seapath320, North/South (ASCII 78/87) |  | sea chest | Seatex Seapath 320/MRU5 | Kongsberg
Oden.Ship.SeaPath.nsat | Seapath320 | st | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.pdop | Seapath320 |  | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.pitch | Seapath320 | ° / deg | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.pitch_rate | Seapath320 | °/s | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.roll | Seapath320 | ° / deg | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.roll_rate | Seapath320 | °/s | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.ROT | Seapath320, GYRO, rate of turn | °/min | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.rp-qual | Seapath320 |  | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.SOG | Seapath320, speed over ground | kn | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.SOG_KMH | Seapath320, speed over ground in km/h | km/h | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.vdop | Seapath320 |  | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.verical_rate | Seapath320 | °/s | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SeaPath.yaw_rate | Seapath320 | °/s | sea chest | Seatex Seapath 320/MRU5 | Kongsberg | 2-minute resolution
Oden.Ship.SOG | Ship GPS speed over ground | kn | Oden | Ship GPS | \N | 2-minute resolution
Oden.Ship.SOG_KMH | Ship GPS speed over ground calculated in db | km/h | Database | Calculated based Ship SOG | SPRS | 2-minute resolution
Oden.Ship.VBW | Ship speed over water | kn | Oden | Oden navigation system | \N | 2-minute resolution
Oden.Ship.VLW.Sum | Sumery distance for speed over water | nm | Oden | Oden navigation system | \N | 2-minute resolution
Oden.Ship.VLW.Trip | Distance for speed over water (trip) | nm | Oden | Oden navigation system | \N | 2-minute resolution
Oden.Water.Hull-Temperature1 | First hull temperature PT100 Sensor, inside on hull at -4m sea level | °C | Dubbel hull tank4 | PT100 | \N | 2-minute resolution
Oden.Water.Hull-Temperature2 | Second hull temperature PT100 Sensor, inside on hull at -4m sea level | °C | Dubbel hull tank4 | PT100 | \N | 2-minute resolution
Oden.Water.Inlet-Temperature | Sea water inlet att -8m PT100 temperature sensor | °C | Inlet | PT100 | \N | 2-minute resolution
Oden.Water.labwater.flow-PL.Flow | Flow sensor Kofferdam labwater Plastic sytem | l/s | Cofferdamm | MEATEST M921 | BASI | 2-minute resolution
Oden.Water.labwater.flow-PL.Temp | Temp in flow sensor Kofferdam labwater Plastic sytem | °C | Cofferdamm | MEATEST M921 | BASI | 2-minute resolution
Oden.Water.labwater.flow-SL.Flow | Flow sensor Kofferdam labwater StainlessSteal sytem | l/s | Cofferdamm | MEATEST M921 | BASI | 2-minute resolution
Oden.Water.labwater.flow-SL.Temp | Temp in flow sensor Kofferdam labwater StainlessSteal sytem | °C | Cofferdamm | MEATEST M921 | BASI | 2-minute resolution
Oden.Water.labwater.InletTemperature | Sea water inlet pipe temperature sensor PT100 | °C | Tank3 | PT100 |  | Not calibrated, 2-minute resolution
Oden.Water.labwater.PL.Pressure | Calculatet value from PL.PressureRAW | Bar | Cofferdamm | BPT128Smart | BASI | 2-minute resolution
Oden.Water.labwater.PL.PressureRAW | WARNING_Auto generated by SQL PutValue! | mA | Cofferdamm | BPT128Smart | BASI | 2-minute resolution
Oden.Water.labwater.SL.Pressure | Calculatet value from SL.PressureRAW | Bar | Cofferdamm | BPT128Smart | BASI | 2-minute resolution
Oden.Water.labwater.SL.PressureRAW | WARNING_Auto generated by SQL PutValue! | mA | Cofferdamm | BPT128Smart | BASI | 2-minute resolution
Oden.Water.SBE38-tank.Temperature | Sea water inlet flowcell temperature sensor | °C | Tank3 | SBE38 | Seabird
Oden.Water.SBE45-kofferdamm.Conductivity | SBE45 sea water system, conductivity | S/m | Cofferdamm | SBE45 | Seabird | 2-minute resolution
Oden.Water.SBE45-kofferdamm.Salinity | SBE45 sea water system, salinity | psu | Cofferdamm | SBE45 | Seabird | 2-minute resolution
Oden.Water.SBE45-kofferdamm.SoundSpeed | SBE45 sea water system, sound speed | m/s | Cofferdamm | SBE45 | Seabird | 2-minute resolution
Oden.Water.SBE45-kofferdamm.Temperature | SBE45 sea water system, water temperature | °C | Cofferdamm | SBE45 | Seabird | 2-minute resolution
Oden.Water.SBE45-mainlab.Conductivity | SBE45 sea water system, conductivity | S/m | MainLab | SBE45 | Seabird | 2-minute resolution
Oden.Water.SBE45-mainlab.Salinity | SBE45 sea water system, salinity | psu | MainLab | SBE45 | Seabird | 2-minute resolution
Oden.Water.SBE45-mainlab.SoundSpeed | SBE45 sea water system, sound speed | m/s | MainLab | SBE45 | Seabird | 2-minute resolution
Oden.Water.SBE45-mainlab.Temperature | SBE45 sea water system, water temperature | °C | MainLab | SBE45 | Seabird | 2-minute resolution
Oden.Water.Valeport-SVS.SeaTemperature | Valeport SVS water temperature, Sea water temperature of sound speed sensor | °C | sea chest | Valeport MiniSVS Sound Velocity Sensor 0652004-T | Valeport | 2-minute resolution
Oden.Water.Valeport-SVS.SoundSpeed | Valeport SVS underwater Sound Speed (aprox -8m under the water surface) | m/s | sea chest | Valeport MiniSVS Sound Velocity Sensor 0652004-T | Valeport | 2-minute resolution